## Q2 2022 Forum - Q&A Report
Q&A from September 20, 2023 BayREN Regional Forum - Building Resilience: Keeping the Lights on in an All-Electric Future
Disclaimer: We have removed duplicates and edited for readability and to remove personal information but have not fact-checked the content of this document. Answers include responses from attendees as well as presenters.
Question | Answer(s)
Can someone address the history of these power outages… start dates, why it’s happening more with time and not less. Data points are helpful | I believe the "PSPS" events started in 2017 after the North Bay Firestorms that year. These will be important for many communities going forward. The recent catastrophe in Lahaina is a very tragic example of this need.
Can someone address the history of these power outages… start dates, why it’s happening more with time and not less. Data points are helpful | There is some information about the grid and power outages from our last Forum -- presentations are here: https://www.bayren.org/events/grid-what-it-and-should-it-shape-policy-all-electric-buildings-2023-06-21
Rooftop solar cells and microgrids build resilience against power outages and also lower customers' electric bills. The utilities tried to impose a solar tax last year and are now trying to impose a large fee to discourage rooftop cells and energy efficiency in general. What is BayREN doing to oppose the utilities, that want everybody to use a lot of electricity that uses their long distance transmission lines. | BayREN is involved in the discussions with PG&E and at the CPUC. It's a complex process!
Where can someone find the most updated building codes for electrification in Alameda County? Is there a consolidated list or site to find this? | Here is a list of all of the reach codes in the state: https://localenergycodes.com/content/adopted-ordinances. If you are looking for the base building code and not reach codes, that would be Title 24, Part 6 last updated in 2022.
When a maker says “All our vehicles will be V2X by 2025”, does that include making e.g. all their existing 2021 vehicles V2X in 2025 or only making 2025 model vehicles V2X? | Some will be "retrofittable". It will of course be an upcharge. That's why Ca, SB 233, the bidirectioonla EV mandate, is SO importnant! To creat equity in the bidirectiojal EV market.
Does DCbel 15 kW size bidirectional device have control software that allows it to be placed on a home’s existing 100 Amp (24 kW) electric panel (to limit its draw from the panel so it throttles down its draw to keep the 100 Amp utility service wire from exceeding its 100Amp rating? | 100 amp service will be tough for our first gen product. There is a smaller product in the pipeline however, and a 100 amp service with load shedding caoabilities may work with this. It would have to be studied on a case by case basis.
When we estimate the amount of EV’s and distributed energy, are we assuming that all of those EV’s are associated with the ability to bi-directionally charge at a stand alone home,garage? For those who have EV’s and live in rentals, apartments, etc., what does it look like for infrastrucutre to feed into the grid from public-private spaces not attached to a home? | There are new codes coming into effect that will hopefully allow for multifamily apatment buildings to participate as well. This is why the ECR document is very important for code integration.
Are heat pump water heaters much more efficient than on-demand gas-powered water heaters? | Yes! Much more efficient. They can be 3-4x more efficient.
Has the DR program definition been clarified regarding market-facing vs. non market-facing programs? | The CPUC appreciates the limitation of requiring that eligble DR programs be market-integrated. They released a Ruling in July asking for recommendations on a new DR program definition. We are hopeful that there will be an upcoming Decision modifying the requirement.
Will the SGIP/TECH HPWH incentive be available to residences that do not have natural gas? Will it be available to homes that use propane? | Yes, incentives are available to customers without gas service and with propane.
For customers who do not have a TOU option or DR option, can the TECH funding bucket still provide incentives, even without TOU, DR or load shifting behavior? This is the case for some public utility customers in CA. | Yes! The contractor will still need to set the HPWH up to do load shifting, but public utility customers without TOU and/or DR programs can get incentives without having to do the TOU and DR enrollment. That's where the TECH "gap-filling" budget comes in.
Are they always large units, or are they ever compact like an on-demand unit is? | HPWH will always have a tank, there are no tankless options. Additionally, they are typically sized larger than a standard gas/electric tanked water heater since they can take slower to heat up.
How do you know if a water heater has a mixing valve? Do residents have to request a plumber install it? | For all eligible projects, the HPWH has to be installed by a contractor (C-36, C-20, or B license type) so the customer will already be working with a plumber or other eligible contractor. When the contractor applies for an incentive reimbursement with us, we require that they upload photos including one of the installer mixing valve.
will you have extra incentives for 120V, 20-40 gal HPWH with low GWP refrigerants like propane or CO2? | Of the items you mentioned, there are "extra" incentives for products with low-GWP refrigerants (there is a $1,500 adder). 120V products are eligible, as are 20-40 gal units, as long as they meet all the other equipment requirements. But no extra incentives for them specifically. Will definitely look into this-and hope TECH has a list of both certified contractors and equipment. In the past, I saw that utils sometimes gave lower incentives to CO2 refrigerant HPWH that were a lot more expensive! I do hope we promote customers to adopt the HPWH that will not require refrigerant changes to low GWP in 5 yrs! Don't want to see a repeat of HCFCs--Europeans went to propane and isobutane as a result of Montreal Protocol. The US followed Dupont lead and instead pushed HCFCs--trading one problem for another. Lets give a clear message to manufacturers and vendors and incent low GWP (CO2, propane refrigerant) HPWH instead!
Do you know if they can be installed outside? Or does it lose its heat/energy-efficiency if it’s stored outdoors? | They cannot be installed outside. They can sometimes be outside the shell of the house if enclosed in a closet/small room that is vented so there is still fresh air coming in/cold air coming out from the compressor. The best location would be indoors, in a basement or garage typically.
Can you share some comparisons between heat pump water heaters and tankless in efficiency? Are the same incentives available for tankless as well? | HPWH are 3-4x more efficient. There are some utility programs that incentivize tankless water heaters but TECH/SGIP do not since they are specifically for electrification and demand response devices, which tankless water heaters would not qualify for. The average gas tankless is 90% efficient (99% for electric), which means per 1 unit of energy, .9 of that will be transferred to heat the water. Heat pump water heaters are usually at least 300% efficient, by that similar calculation.
If our heat pump is already installed, is it too late to participate? | Unfortunately yes - it is too late to get an incentive. In order to be eligible, the invoice date and signed date of the terms & conditions has to be on or after the incentives lauch date. But congratulations on your new HPWH! I hope you have a very positive experience.
Are the TECH HPWH rebates stackable with rebates offered by BayREN and others? Do contractors have to be certified through both TECH and BayREN to take advantage of both programs? | Yes, they are stackable and also yes they have to be enrolled in both programs but we have streamlined the paperwork so both rebates are submitted through BayREN's process.
I have been watching that carefully but it doesn't feel that the requirement has been fully clarified. It is a disadvantage for DR programs that have not yet reached market viability but that will be effective tools when scaled. I will keep an eye out for the final definition. Thank you for the response. | Absolutely. I agree that it is all still up in the air until a potential new Decision, and that it would be an improvement to allow for other DR programs as you mentioned. Feel free to contact me if you have more questions! ekehmeier@energy-solution.com
Is bidirectional charging specific to particular vehicles? | There are many EV's that are currently bidirectional , and many more on the way. You can refer to the list in my slides for some of the current models available. :-)
What did the customer outreach/enrollment process look like for the PeakFlex program? | Staff conducted direct outreach to all of our member communites, in addition to a comprehensive marketing campaign to our larger indistural customers across our service area